CHILDREN’S NATIONAL MEDICAL CENTER

DEPARTMENT OF RADIOLOGY

ULTRASOUND PROTOCOL

______________________________________________________________________

Issue Date: 3/4/14

Updated 1/8/2015			Policy: SCROTUM WITH DOPPLER

- Indications for a pediatric scrotal sonogram include but are not limited to:

Evaluation for pain, trauma, ischemia, torsion and/or inflammatory disease;

Palpable mass in the scrotum or inguinal canal; Asymmetry, swelling or testicular enlargement; Evaluation of hernias, varicoceles and localization of undescended testes; Follow up exam to prior surgery or trauma.

- Patient Prep: No patient prep required for this exam.

- Protocol: Cover and drape patient in a manner that protects their privacy.

Utilizing a high frequency linear transducer (7.5 to 10 MHz),

Multiple longitudinal and transverse scans through the right and left side of the scrotum. Doppler interrogation and documentation for vascular flow symmetry is also performed.

Using gentle pressure and warm gel, structures imaged should include the testes, epididymis, spermatic cord and any pathology.

First image obtained should be a midline, transverse view to document the planes of the right and left testes.

A.        Testes - Evaluated in the longitudinal and transverse scan planes.

- Longitudinal-

  - Images obtained centrally including documentation of the medial and lateral aspect of the testes.

- Transverse-

  - Images obtained at the superior, mid and inferior portions of the testes.

  - The maximum testicular length transverse AP and volume.

- Other scrotal anatomy to include;

  - Epididymial head, body and tail, if possible. Measure volume of head

- Any finding of extra testicular structure(s) should be evaluated and documented.

Doppler

- Documentation of color and/or power Doppler should include side by side (dual screen) imaging for comparison and evaluation of flow symmetry.

- Transducer frequency should be optimized for Doppler sensitivity; low flow detection settings of normal side first. If flow cannot be obtained, power Doppler should be utilized to increase flow sensitivity. Setting should not be changed when scanning the abnormal side.

- Flow should be assessed within the testes, in the region of the capsule, and in the epididymis inguinal region and scrotal wall.

- Color Doppler and spectral Doppler images of right and left testes.  Care must be taken to show intratesticular flow, not just peripheral.

- Using the dual image screen, flow should be compared from one side to the other.

- 3 sec dynamic clip through each testis demonstrating the presence of flow.

- Dual screen image showing the epididymis and spermatic cord with and without color.

# Varicocele imaging:

- Transverse and longitudinal images of dilated veins.

- Transverse (R to L) measurement of largest vein at rest and with Valsalva maneuver.

- Color Doppler and Spectral Doppler images of varicocele at rest and with Valsalva maneuver.

- Spectral Doppler of elongated portion of dilated vein, obtain images at rest and with Valsalva maneuver.  Document any presence of flow reversal with the Valsalva maneuver.

Reference:

American Institute of Ultrasound in Medicine, A. (2010). AIUM practice guidelines for the performance of scrotal ultrasounds. . 1-5. Retrieved from http://www.aium.org/resources/guidelines/scrotal.pdf

Template Suggestion for torsion detorsion vs epididymitis

Clinical History: Left testicular swelling and redness for one month,
however, one day of severe pain.
Comparison: None.

Real-time ultrasonography was carried out over both sides of the
scrotum revealing testes of normal size, contour and echotexture. The
right testicle measures 1.2 x 1.8 x 2.9 cm. The left testicle measures
1.7 x 1.7 x 0.9 cm. No masses or fluid collections are seen. Both
arterial and venous Doppler waveforms were retrievable from the
testicular tissue bilaterally. 

Evaluation of the epididymis reveals increased Doppler flow to the
left epididymis. The epididymis are otherwise symmetric in
echotexture.

Summary: In the appropriate clinical setting, above findings are
concordant with left epididymitis. However, the sonographic findings
are nonspecific, and although less likely, intermittent testicular
torsion and detorsion could have a similar appearance. Recommend
correlation.